
 SEQ CHAPTER \h \r 1Keycodes Inspection Agency
1307 West Lehigh Street

Bethlehem, Pennsylvania 18018

_____________________________________________________________


Phone 610.866.9663




                    www.keycodes.net

Fax     610.866.2664




                   info@keycodes.net

TEMPORARY TENT
INFORMATION AND REQUIREMENTS

1. ALL TENTS SHALL BEAR A TAG TO VERIFY FIRE RATING TREATMENT

2. TENT STAKES SHALL HAVE PROTECTIVE CAPS INSTALLED

3. TENTS SHALL BE INSTALLED TO WITHSTAND WIND, RAIN, AND SNOW LOADS

4. A MINIMUM NUMBER OF FIRE EXTINGUISHERS SHALL BE PROVIDED

5. EGRESS PATHWAYS SHALL BE PROVIDED AND MAINTAINED

6. PUBLIC USE TENTS SHALL BE ACCESSIBILE
7. HEATED TENTS SHALL INCLUDE CARBON MONOXIDE DETECTORS; ALARM 
ADDITIONAL REQUIREMENTS

FOR FIREWORKS SALES

1. NO SMOKING SIGNS SHALL BE POSTED

2. ALL PACKING AND BOXES SHALL BE REMOVED – NO COMBUSTIBLES WITHIN 30’ OF TENT


